# A Missingness-Aware Self-Supervised Teacher-Student Framework for Limited-Input ABPM Risk Estimation

with Sleep-Aware Blood Pressure Profiling for Personalised Hypertension Monitoring

Author1, Author2

Affiliations

# Abstract

Hypertension monitoring depends not only on average blood pressure (BP), but also on how BP behaves across sleep, waking, and daily activity. Full 24-hour ambulatory blood pressure monitoring (ABPM) provides this temporal information, but it can be difficult to access, interpret, and repeat in routine care. This manuscript presents a revised framework that connects two complementary pathways. The first pathway uses full ABPM recordings to generate transparent sleep-aware BP profiles, including awake BP, sleep BP, dipping percentage, morning surge, BP variability, pulse pressure, mean arterial pressure, and sustained BP burden. The second pathway extends the framework into a missingness-aware self-supervised teacher-student model for limited-input ABPM risk estimation. During development, complete ABPM sequences are used as privileged information to train a temporal teacher model. The teacher learns ABPM representations through masked reconstruction and multi-task phenotype prediction. A limited-input student model is then trained using clinic BP, simulated home BP, demographic, lifestyle, and missingness indicators to approximate the teacher representation and estimate ABPM-defined risk when full 24-hour monitoring is unavailable. The existing primary ABPM analysis retained 1,090 valid readings from 30 participants after filtering zero-value artefacts, identifying normal dipping, non-dipping, extreme dipping, high morning surge, high variability, insufficient sleep BP data, and sustained high BP patterns. The revised method positions machine learning as ABPM prioritisation support rather than diagnosis. The proposed framework preserves clinician-led decision-making, supports patient understanding through a report-linked explanation interface, and provides a structured experimental plan for evaluating teacher-student learning, self-supervised pretraining, missing-data robustness, calibration, and ablation performance. Final clinical claims require validation using real paired clinic/home BP and ABPM datasets beyond the synthetic limited-input cohort used for methodological development.

# Keywords

Hypertension; ambulatory blood pressure monitoring; nocturnal blood pressure; non-dipping; morning blood pressure surge; limited-input prediction; teacher-student learning; self-supervised learning; missing data; knowledge distillation; clinical decision support; Sri Lanka

# 1. Introduction

## Hypertension is one of the most important preventable causes of cardiovascular disease, stroke, kidney disease, and premature death. In Sri Lanka, this is not only a general public health issue, but also a practical clinical monitoring problem. The World Health Organization hypertension profile for Sri Lanka estimated that 4.3 million adults aged 30 to 79 years were living with hypertension in 2019, and that 1.5 million more people would need effective treatment to reach a 50% control rate. The same profile also highlights the continuing contribution of high systolic blood pressure to cardiovascular mortality. These figures show that better hypertension care in Sri Lanka requires more than diagnosis alone. It also requires practical tools that help clinicians identify uncontrolled patterns, monitor risk more clearly, and support safe long-term follow-up.

## Recent national evidence further shows the size of the care gap. A nationally representative Sri Lankan study using data from the Sri Lanka Health and Ageing Study reported a weighted adult hypertension prevalence of 27.6%. Among adults with hypertension, 87% had ever had their blood pressure measured, but only 53% were diagnosed, 44% were receiving treatment, and only 20% had controlled blood pressure. The largest losses in the care cascade occurred at diagnosis and after treatment, showing that Sri Lanka has both a detection problem and a control problem. This matters because a patient may attend a clinic, receive treatment, and still remain poorly controlled during sleep, early morning, or daily activity. Therefore, a clinically useful monitoring system should not only record whether blood pressure is high, but also show when it is high, how it behaves overnight, and what the treating clinician should review next.

## In routine practice, blood pressure is commonly assessed using clinic measurements or short home records. These measurements are important and easy to obtain, but they cannot fully describe the 24-hour pattern of blood pressure. A patient may have acceptable clinic blood pressure but raised night-time blood pressure, poor nocturnal blood pressure reduction, a strong morning rise, or high blood pressure variability. These patterns are clinically meaningful because cardiovascular risk is influenced not only by average blood pressure, but also by the timing and stability of blood pressure across the day and night. Ambulatory blood pressure monitoring (ABPM) addresses this limitation by measuring blood pressure repeatedly during usual daily activity and sleep. NICE quality standards state that adults with suspected hypertension should receive ABPM, or home blood pressure monitoring when ABPM is not tolerated, to confirm diagnosis. ABPM is also valuable because it can help detect masked hypertension, white-coat hypertension, nocturnal hypertension, abnormal dipping patterns, and morning blood pressure rise.

However, the clinical value of ABPM does not automatically translate into easy clinical use. In Sri Lankan practice, routine ABPM use can be limited by device availability, staff time, patient return visits, cost, and the need for trained interpretation. Even when ABPM is available, the report may contain long tables, averages, plots, and technical summaries that are difficult to interpret quickly during a busy clinic session. The practical questions are often simpler: Was blood pressure high during sleep? Did it fall normally overnight? Was there a concerning rise after waking? Was the pattern unstable? Is the recording reliable enough to interpret? What should the clinician review next? A framework that converts ABPM readings into a structured sleep-aware profile can therefore support clinical decision-making without replacing medical judgement.

Existing ABPM software and research methods provide important foundations, but important gaps remain. Commercial ABPM systems commonly report 24-hour, daytime, and night-time averages, dipping status, blood pressure load, and graphs. These outputs are useful, but they are often designed for specialist review rather than clear patient-centred explanation or triage. Machine-learning studies have also been used for blood pressure estimation, waveform analysis, and ABPM label classification. For example, deep learning has been explored for estimating blood pressure trends and nocturnal systolic BP dipping from wearable photoplethysmography signals. Such studies show that temporal blood pressure behaviour can be modelled, but many approaches focus mainly on prediction performance and do not clearly separate screening, explanation, and clinical treatment decisions.

A second limitation is that many machine-learning models assume that the same information is available during both training and deployment. This is not always realistic in hypertension care. Full 24-hour ABPM may be available in a research dataset, but not available for every patient in routine practice. In contrast, simple inputs such as clinic blood pressure, a few home morning or evening readings, age, sex, body mass index, diabetes status, medication history, smoking, sleep quality, and caffeine or alcohol intake are easier to collect. The key research opportunity is therefore not to replace ABPM, but to learn from full ABPM when it is available and use that knowledge to support risk estimation when only limited inputs are available.

This study addresses this gap by developing a sleep-aware ABPM profiling framework with a missingness-aware self-supervised teacher-student learning pathway. The framework first uses full 24-hour ABPM recordings to generate interpretable blood pressure phenotypes, including awake blood pressure, sleep blood pressure, dipping percentage, morning surge, nocturnal hypertension, blood pressure variability, pulse pressure, and sustained high blood pressure burden. These outputs provide a transparent clinical profile for doctor-led review. In the learning pathway, the complete ABPM sequence is treated as privileged training information. A temporal teacher model learns hidden 24-hour blood pressure structure using self-supervised masked reconstruction and multi-task prediction of ABPM-derived phenotypes. A limited-input student model is then trained to estimate the teacher-guided ABPM risk representation using only simpler clinic, home, demographic, lifestyle, and missingness indicators. At inference, the student model can operate without full ABPM and can support ABPM prioritisation rather than diagnosis.

# Handling incomplete data was central to this design. In real clinical settings, patients may have clinic blood pressure but no home readings, home readings but no lifestyle questionnaire, or only partial medical history. The proposed student model therefore used both feature values and data-availability indicators, and was trained with feature dropout so that it remained robust when some inputs were unavailable. This design reflects the practical reality that clinical data are often incomplete, and that useful risk estimation should not depend on every input being available for every patient.

Together, these elements formed a framework that combined medical interpretability, limited-input risk estimation, and safe clinical reporting. The main contributions of this study were as follows:

- Developed a sleep-aware ABPM reporting framework that translated 24-hour blood pressure recordings into clinically relevant review points, including awake BP, sleep BP, nocturnal dipping, morning surge, BP variability, nocturnal hypertension, and sustained BP burden.

- Defined interpretable ABPM-derived phenotypes using transparent clinical rules, allowing abnormal sleep BP patterns, reduced nocturnal dipping, morning BP rise, and unstable BP behaviour to be identified consistently for clinician review.

- Introduced an incomplete-data-aware teacher-student learning pathway in which complete ABPM recordings guided model training, while a limited-input student model estimated ABPM-defined risk using simpler clinical, home-monitoring, demographic, and lifestyle information.

- Designed a clinician-facing reporting and explanation workflow that converted model and rule-based outputs into structured review points, patient-understandable summaries, and safe report-question responses for use in the Sri Lankan hypertension-care context.

# 2. Methodology

[Figure explaining the overall framework]

Rule based  ML  reporting

## 2.1 Data capture

The primary dataset is a 24-hour physiological monitoring dataset containing ABPM readings with sleep and wake labels. The ABPM file includes participant ID, date, time, systolic BP, diastolic BP, mean arterial pressure, pulse pressure, heart rate, and sleep or wake state. Participant metadata and data-quality notes provide additional context, including sex, age group, BMI, caffeine, alcohol, and known device or collection issues where available.

A second labelled ABPM summary dataset is used as a support dataset for baseline machine-learning analysis. It contains ABPM-derived summary features and labels related to circadian rhythm, pulse pressure, BP load, BP variability, and morning surge. The two datasets are not merged row by row because they represent different cohorts and structures.

Table 2. Data sources and their roles in the revised study

| Dataset | Main content | Use in revised study | Important limitation |
| --- | --- | --- | --- |
| Primary 24-hour physiological monitoring dataset | Raw ABPM sequences with sleep/wake labels and participant context | Full ABPM profiling, rule-derived labels, teacher pretraining, synthetic limited-input cohort generation | Small cohort size; limited external clinical generalisability |
| Labelled ABPM summary dataset | ABPM summary features with pattern labels | Classical ML baseline and feature-relevance support analysis | Inputs already depend on ABPM summaries, so it does not test true no-ABPM prediction |
| Synthetic limited-input cohort | Clinic-like BP, home BP, demographics, lifestyle and missingness indicators generated from ABPM and metadata | Teacher-student method development and missingness robustness experiments | Synthetic inputs are not a substitute for real paired clinic/home plus ABPM data |

## Synthetic limited-input cohort generation

The limited-input cohort is generated from the primary ABPM dataset to simulate what may be available before full ABPM is ordered. The aim is not to create artificial clinical truth, but to create a controlled development dataset where the student model can be tested under known relationships between limited inputs and full ABPM phenotypes.

Clinic BP is generated from awake ABPM with noise and bias terms representing normal clinic behaviour, white-coat-like behaviour, and masked-like behaviour. Morning home BP is generated from the first two hours after waking, and evening home BP is generated from late awake readings. Repeated home BP features are generated by sampling morning and evening values over three-day and seven-day windows with realistic random variation. Demographic and lifestyle variables use real metadata where available and synthetic probabilistic values where missing.

Table 4. Synthetic limited-input features for the student model

| Limited-input group | Generated or derived variables | Rationale |
| --- | --- | --- |
| Clinic BP | clinic_sbp, clinic_dbp, clinic_pulse_pressure | Represents routine clinic measurement before ABPM |
| Morning home BP | morning_home_sbp, morning_home_dbp | Provides information related to morning BP rise |
| Evening home BP | evening_home_sbp, evening_home_dbp | Adds a second non-ABPM time point |
| Repeated home BP | home_3day_mean_sbp, home_7day_mean_sbp, home_bp_variability | Tests whether short home monitoring improves risk estimation |
| Demographics | age group, sex, BMI | Provides baseline risk context |
| Lifestyle and history | caffeine, alcohol, smoking, diabetes, medication status, sleep quality, stress | Represents practical clinical and questionnaire inputs |
| Missingness indicators | one missing flag for each feature group and each critical feature | Allows the student model to learn from incomplete inputs |

Three synthetic noise settings should be generated: low noise, medium noise, and high noise. The medium-noise cohort is treated as the main development setting. Low-noise and high-noise cohorts are used for sensitivity analysis. A version without white-coat-like and masked-like simulation is also retained to test whether these assumptions materially affect performance.

## 2.2 Rule-based ABPM phenotyping

### 2.2.1 Sleep and wake stratification

For each participant, valid ABPM readings were separated into awake and sleep periods using the available sleep or wake label. This separation was used to compare daytime and night-time blood pressure behaviour and to derive sleep-aware BP phenotypes. Participants with too few valid sleep readings were retained in the dataset, but sleep-related interpretation was marked as unreliable rather than assigning a dipping phenotype.

### 2.2.2 Sleep-aware ABPM feature extraction

Participant-level ABPM features were calculated from the valid time-ordered readings. These included mean 24-hour BP, awake BP, sleep BP, pulse pressure, mean arterial pressure, heart rate, and BP variability. For a given period containing nvalid readings, mean systolic blood pressure was calculated as:

SBP=1ni=1nSBPi

The same approach was used to calculate mean diastolic BP, mean arterial pressure, pulse pressure, and heart rate. Systolic BP variability was represented using the standard deviation of systolic BP:

SBPSD=i=1n(SBPi-SBP)2n-1

Diastolic BP variability was calculated using the same formula with DBP values.

The central sleep-aware feature was the percentage fall in systolic BP during sleep. This was calculated by comparing awake mean SBP and sleep mean SBP:

Dipping Percentage=SBPawake-SBPsleepSBPawake×100

Morning surge was calculated by identifying the first wake period after sleep and comparing the average systolic BP during the early morning window with the average sleep systolic BP:

Morning Surge=SBPmorning-SBPsleep

In this framework, the morning window was defined as the first two hours after waking. If no clear wake transition was available, morning surge was marked as unavailable.

### 2.2.3 Dipping phenotype classification

Dipping status was assigned using the percentage fall in systolic BP during sleep. A normal nocturnal fall was defined as a 10 to 20% reduction in sleep SBP compared with awake SBP. Participants with less than 10% reduction were classified as non-dippers, while participants with more than 20% reduction were classified as extreme dippers. If sleep SBP was higher than awake SBP, the participant was classified as a reverse dipper. Participants with insufficient valid sleep readings were not assigned a dipping phenotype.

Table 2. Rule-based sleep BP phenotype definitions

| Pattern | Rule used in the framework | Clinical interpretation |
| --- | --- | --- |
| Normal dipper | 10 to 20% sleep SBP fall | Expected nocturnal BP reduction |
| Non-dipper | 0 to <10% sleep SBP fall | Reduced nocturnal BP fall |
| Reverse dipper | Sleep SBP higher than awake SBP | BP rises during sleep |
| Extreme dipper | >20% sleep SBP fall | Marked nocturnal BP reduction |
| Insufficient sleep BP data | Too few valid sleep readings | Sleep BP interpretation unreliable |

### 2.2.4 Elevated BP and additional review flags

Elevated BP was assessed separately for the 24-hour, awake, and sleep periods. Mean 24-hour BP was considered elevated when mean SBP was at least 130 mmHg or mean DBP was at least 80 mmHg. Awake BP was considered elevated when mean awake SBP was at least 135 mmHg or mean awake DBP was at least 85 mmHg. Sleep BP was considered elevated when mean sleep SBP was at least 120 mmHg or mean sleep DBP was at least 70 mmHg.

A sustained high BP pattern was assigned only when elevated BP was present across the relevant 24-hour, awake, and sleep domains. If sleep readings were insufficient, sustained high BP was not assumed and sleep-related interpretation was marked as unavailable.

High morning surge and high BP variability were treated as cohort-relative review flags in this development dataset. The upper quartile of available values was used to identify participants with comparatively high morning surge or high SBP variability. These values were used only as review signals and were not presented as universal diagnostic thresholds.

Table 3. Main rule-based review flags

| Review flag | Definition used in the framework | Output wording |
| --- | --- | --- |
| Elevated 24-hour BP | Mean 24-hour SBP ≥130 mmHg or DBP ≥80 mmHg | Raised 24-hour BP burden |
| Elevated awake BP | Mean awake SBP ≥135 mmHg or DBP ≥85 mmHg | Raised awake BP |
| Elevated sleep BP | Mean sleep SBP ≥120 mmHg or DBP ≥70 mmHg | Raised sleep BP |
| High morning surge | Morning surge in the upper cohort range | Morning BP rise for review |
| High variability | SBP variability in the upper cohort range | Unstable BP pattern |
| Insufficient sleep BP data | Too few valid sleep readings | Repeat or review ABPM quality |

### 2.2.5 Clinical priority and review-point mapping

The rule-based BP profile was translated into a simple clinical review priority. Reverse dipping, sustained high BP, or the combined presence of high morning surge and high variability were treated as higher-priority review findings. Non-dipping, raised sleep BP, high morning surge, or high variability were treated as review-soon findings. Insufficient sleep BP data led to a data-quality review recommendation.

Each detected pattern was linked to a clinician-review point. The wording was designed to support clinical review rather than recommend treatment. For example, non-dipping prompted review of night-time BP and sleep quality. Morning surge prompted review of morning BP control and medication timing with the treating clinician. High variability prompted review of possible contributors such as stress, caffeine, pain, missed medication, or measurement quality.

Table 4. Mapping of detected patterns to clinician-review points

| Detected pattern | Suggested clinician-review point |
| --- | --- |
| Insufficient sleep BP data | Review ABPM quality or consider repeat monitoring |
| Non-dipping | Review night-time BP pattern and sleep quality |
| Reverse dipping | Prioritise nocturnal BP pattern review |
| Raised sleep BP | Review nocturnal BP burden |
| Morning surge | Review morning BP control and medication timing with the treating clinician |
| High variability | Review stress, caffeine, pain, adherence, and measurement quality |
| Sustained high BP | Consider earlier clinical review |
| No major rule-based flag | Routine follow-up if clinically appropriate |

### 2.2.6 Clinical safety boundary

The framework did not recommend starting, stopping, increasing, reducing, or changing antihypertensive medication. This safety boundary was included because patients may incorrectly assume that high night-time BP or morning BP rise means they should change medication timing. In practice, medication timing depends on the drug class, comorbidities, symptoms, side effects, fall risk, kidney function, adherence pattern, and the treating clinician’s plan. Therefore, medication timing was presented only as a topic for clinician review, not as an automated recommendation.

2.3 NN model

Model architecture image

Briefly discuss each section of the model

------------

Model training

## 3.6 Self-supervised ABPM teacher model

The teacher model receives the full ABPM sequence during training. Each participant is represented as a multivariate time series containing SBP, DBP, heart rate where available, sleep/wake state, time-of-day sine and cosine features, and observation masks. The proposed teacher architecture uses a one-dimensional convolutional front end to capture local BP changes, followed by a temporal Transformer encoder to learn longer day-night and wake-transition relationships.

Before supervised phenotype training, the teacher is pretrained using masked ABPM reconstruction. Random time points and contiguous time windows are hidden from the input, and the teacher is trained to reconstruct the masked SBP, DBP, and heart-rate values. This self-supervised task encourages the model to learn the structure of the 24-hour BP curve, including nocturnal fall, morning transition, BP variability, and sustained high BP periods.

L_reconstruction = mean squared error between observed hidden ABPM values and reconstructed values

After self-supervised pretraining, the teacher is fine-tuned with multi-task outputs for ABPM-derived phenotypes and continuous targets such as dipping percentage, morning surge magnitude, sleep mean SBP, and variability score.

## 3.7 Missingness-aware limited-input student model

The student model receives only limited inputs. It does not receive full ABPM sequences, sleep BP, dipping percentage, or other features that would be unavailable without ABPM. Each input feature is represented by its value and a missingness flag. For time-dependent limited inputs, such as home BP, an optional recency or reliability variable can be added.

The proposed student can be implemented as a missingness-aware multilayer perceptron or a tabular Transformer. Categorical variables are embedded, continuous variables are normalised, and missingness masks are concatenated to the feature representation. During training, feature dropout randomly removes selected inputs or full input groups, such as home BP or lifestyle variables. This forces the student to remain robust when some information is missing at deployment.

Table 5. Limited-input deployment scenarios

| Student input scenario | Available features | Purpose |
| --- | --- | --- |
| Clinic only | Clinic SBP, clinic DBP, age, sex | Minimum deployment setting |
| Clinic plus demographics | Clinic BP, age, sex, BMI | Basic clinical setting |
| Clinic plus morning home BP | Clinic BP, demographics, morning home BP | Tests value of morning measurement |
| Clinic plus morning and evening home BP | Clinic BP, demographics, morning and evening BP | Tests short home monitoring |
| Repeated home BP | Clinic BP, demographics, three-day or seven-day home BP summaries | Tests whether short repeated monitoring improves risk estimation |
| All limited inputs | All available simple inputs plus missingness indicators | Best-case limited-input setting |

## 3.8 Teacher-student distillation

The teacher guides the student in three ways. First, the student learns hard rule-derived labels, such as non-dipper, nocturnal hypertension, morning surge, high variability, and ABPM priority. Second, the student learns soft teacher probabilities, which contain more information than binary labels. Third, the student learns to approximate the teacher embedding, so that limited inputs are encouraged to represent the hidden ABPM structure learned from full 24-hour sequences.

L_total = L_label + lambda1 L_soft + lambda2 L_embedding + lambda3 L_regression + lambda4 L_missing

Table 6. Proposed teacher-student learning objectives

| Loss term | Meaning | Expected benefit |
| --- | --- | --- |
| L_label | Supervised loss against rule-derived ABPM labels | Keeps outputs clinically interpretable |
| L_soft | Distillation loss against teacher probabilities | Transfers teacher uncertainty and richer class structure |
| L_embedding | Distance between student embedding and teacher ABPM embedding | Transfers hidden temporal ABPM representation |
| L_regression | Regression loss for dipping percentage, morning surge, sleep SBP and variability score | Prevents the model from learning only binary labels |
| L_missing | Consistency loss under feature dropout and missingness simulation | Improves robustness to incomplete limited-input data |

## 3.9 Baselines and ablation studies

The proposed method should be compared against simple and strong baselines. Classical baselines include logistic regression, random forest, and gradient boosting using the same limited-input features. Neural baselines include a student MLP without distillation and a missingness-aware student without teacher guidance. Teacher ablations test whether self-supervised ABPM reconstruction improves representation learning. Student ablations test the value of missingness masks, feature dropout, soft-label distillation, and embedding alignment.

Table 7. Planned ablation studies

| Ablation | Compared models | Question answered |
| --- | --- | --- |
| Classical baseline | Logistic regression, random forest, gradient boosting | How much does a simple model achieve? |
| Student architecture | MLP student vs tabular Transformer student | Is a more expressive student useful? |
| Missingness handling | Mean imputation only vs missingness masks vs masks plus feature dropout | Does missingness-aware learning improve robustness? |
| Teacher guidance | Hard labels only vs soft distillation vs embedding alignment | Does the teacher transfer useful ABPM knowledge? |
| Self-supervision | Teacher without masked reconstruction vs teacher with masked reconstruction | Does self-supervised ABPM learning improve downstream prediction? |
| Input groups | Clinic only vs home BP additions vs all limited inputs | Which simple inputs are most useful? |
| Synthetic assumptions | Low, medium, and high noise; with and without white-coat/masked simulation | Are results robust to synthetic data assumptions? |

## 3.10 Evaluation metrics

Binary outcomes should be evaluated using AUROC, AUPRC, sensitivity, specificity, F1-score, balanced accuracy, and negative predictive value. Regression outputs should be evaluated using mean absolute error and root mean squared error. Because the method is intended for risk estimation, calibration should be evaluated using Brier score, calibration plots, and expected calibration error. Missingness robustness should be evaluated by testing performance under random and structured missingness scenarios.

Table 8. Evaluation metrics

| Outcome type | Targets | Metrics |
| --- | --- | --- |
| Binary classification | abnormal dipping, nocturnal hypertension, morning surge, high variability, sustained high BP | AUROC, AUPRC, sensitivity, specificity, F1, balanced accuracy |
| Ordinal classification | ABPM review priority | weighted F1, macro F1, ordinal accuracy, confusion matrix |
| Regression | dipping percentage, morning surge magnitude, sleep mean SBP, variability score | MAE, RMSE, correlation |
| Calibration | risk probabilities for ABPM phenotypes | Brier score, calibration curve, expected calibration error |
| Robustness | all above targets under missingness | performance drop from complete-input setting |

## 3.11 Report generation and explanation interface

The reporting module remains clinician-led. When full ABPM is available, the report is based on the rule-derived ABPM phenotype. When only limited inputs are available, the student model can provide a preliminary ABPM risk estimate and suggest whether ABPM should be prioritised. The limited-input output should not be shown as a diagnosis. It should be worded as a likelihood or prioritisation signal.

The report-linked explanation interface receives only the calculated report summary, not the full raw ABPM table or synthetic limited-input dataset. It explains terms such as non-dipper, nocturnal hypertension, morning surge, and ABPM priority in simple language. It is instructed not to diagnose disease, prescribe treatment, or recommend medication changes.

# 4. Results

## 4.1 Primary ABPM data availability and rule-based phenotypes

The primary ABPM dataset contained 1,623 sleep-annotated BP readings. After removing readings with physiologically invalid zero values, 1,090 valid readings remained for analysis, representing 67.2% of the original rows. The cleaned dataset included 30 participants. Three participants had insufficient valid sleep BP readings for reliable sleep-related interpretation. Data-quality notes identified known device or collection issues in eight participants.

Table 9. Primary ABPM data inclusion and quality summary

| Item | Result |
| --- | --- |
| Raw sleep-annotated ABPM readings | 1,623 |
| Valid readings after cleaning | 1,090 |
| Excluded invalid readings | 533 |
| Valid reading proportion | 67.2% |
| Participants included | 30 |
| Participants with insufficient sleep BP data | 3 |
| Participants with known device or collection issues | 8 |

The rule-based sleep-aware analysis classified 17 participants as normal dippers, seven as non-dippers, three as extreme dippers, and three as having insufficient sleep BP data. No reverse dippers were observed after cleaning. Additional rule-based review flags included high SBP variability in eight participants, high morning surge in seven participants, and sustained high BP in one participant.

Table 10. Rule-based ABPM phenotype and review-flag distribution

| Review finding | Participants flagged |
| --- | --- |
| Normal dipper | 17 |
| Non-dipper | 7 |
| Reverse dipper | 0 |
| Extreme dipper | 3 |
| Insufficient sleep BP data | 3 |
| High SBP variability | 8 |
| High morning surge | 7 |
| Sustained high BP | 1 |

## 4.2 Synthetic limited-input cohort summary

[INSERT AFTER FINAL ANALYSIS] Insert the final number of synthetic limited-input rows, number of generated replicates per ABPM participant, feature distributions, missingness rates, and checks showing that synthetic clinic/home BP values remain clinically plausible.

Table 11. Synthetic limited-input cohort audit table

| Synthetic cohort item | Main setting | Sensitivity settings |
| --- | --- | --- |
| Synthetic rows generated | [insert] | [insert] |
| Clinic BP noise level | [insert] | low, medium, high |
| White-coat-like proportion | [insert] | [insert] |
| Masked-like proportion | [insert] | [insert] |
| Home BP missing rate | [insert] | [insert] |
| Lifestyle/history missing rate | [insert] | [insert] |
| Features retained after plausibility checks | [insert] | [insert] |

## 4.3 Teacher model performance

[INSERT AFTER FINAL ANALYSIS] Insert teacher performance for ABPM phenotype prediction before and after self-supervised masked reconstruction pretraining. Report classification metrics, regression errors, and reconstruction error.

Table 12. Teacher model performance template

| Teacher model | ABPM pretraining | Target | AUROC or MAE | F1 or RMSE | Calibration or notes |
| --- | --- | --- | --- | --- | --- |
| CNN teacher | No | abnormal dipping | [insert] | [insert] | [insert] |
| Transformer teacher | No | abnormal dipping | [insert] | [insert] | [insert] |
| CNN plus Transformer teacher | Masked reconstruction | abnormal dipping | [insert] | [insert] | [insert] |
| CNN plus Transformer teacher | Masked reconstruction | morning surge magnitude | [insert] | [insert] | [insert] |

## 4.4 Limited-input student and teacher-student performance

[INSERT AFTER FINAL ANALYSIS] Insert the main student model results. The primary comparison should show whether teacher guidance improves limited-input ABPM risk estimation compared with classical baselines and a student trained only on hard labels.

Table 13. Main limited-input ABPM risk estimation results template

| Model | Input setting | Distillation | AUROC | AUPRC | F1 | Brier score |
| --- | --- | --- | --- | --- | --- | --- |
| Logistic regression | All limited inputs | No | [insert] | [insert] | [insert] | [insert] |
| Random forest | All limited inputs | No | [insert] | [insert] | [insert] | [insert] |
| Gradient boosting | All limited inputs | No | [insert] | [insert] | [insert] | [insert] |
| Student MLP | All limited inputs | No | [insert] | [insert] | [insert] | [insert] |
| Missingness-aware student | All limited inputs | No | [insert] | [insert] | [insert] | [insert] |
| Teacher-student model | All limited inputs | Soft + embedding | [insert] | [insert] | [insert] | [insert] |
| Full proposed model | All limited inputs | SSL teacher + soft + embedding + missingness | [insert] | [insert] | [insert] | [insert] |

## 4.5 Missingness robustness

[INSERT AFTER FINAL ANALYSIS] Insert performance under complete input, 10%, 30%, 50%, and 70% missingness, plus structured missingness cases such as no home BP and clinic-only deployment.

Table 14. Missingness robustness results template

| Missingness scenario | AUROC | F1 | Calibration | Performance drop |
| --- | --- | --- | --- | --- |
| Complete limited input | [insert] | [insert] | [insert] | reference |
| 10% random missing | [insert] | [insert] | [insert] | [insert] |
| 30% random missing | [insert] | [insert] | [insert] | [insert] |
| 50% random missing | [insert] | [insert] | [insert] | [insert] |
| No home BP | [insert] | [insert] | [insert] | [insert] |
| Clinic BP plus demographics only | [insert] | [insert] | [insert] | [insert] |

## 4.6 Ablation findings

[INSERT AFTER FINAL ANALYSIS] Insert final ablation results showing the contribution of missingness masks, feature dropout, soft-label distillation, embedding alignment, and self-supervised teacher pretraining.

Table 15. Ablation study results template

| Model variant | Difference from full model | Primary metric | Change from full model |
| --- | --- | --- | --- |
| Full proposed model | None | [insert] | reference |
| Without self-supervised teacher pretraining | Remove masked reconstruction | [insert] | [insert] |
| Without teacher soft labels | Hard labels only | [insert] | [insert] |
| Without embedding alignment | No teacher representation matching | [insert] | [insert] |
| Without missingness masks | Use imputation only | [insert] | [insert] |
| Without feature dropout | No robustness augmentation | [insert] | [insert] |

## 4.7 Classical labelled ABPM support analysis

The separate labelled ABPM support dataset was used to examine whether ABPM-derived summary features were informative for related BP pattern labels. This analysis was not used to generate the clinical report or train the limited-input student model. In the existing baseline analysis, the best model performance was observed for BP-Load and Circadian-Rythm. Random forest classified BP-Load with an AUROC of 0.980, F1-score of 0.986, and balanced accuracy of 0.976. Random forest also performed strongly for Circadian-Rythm, with an AUROC of 0.991, F1-score of 0.955, and balanced accuracy of 0.935. Logistic regression performed best for Morning-Surge and Pulse-Pressure.

Table 16. Existing labelled ABPM support analysis

| Target | Best model | AUROC | F1-score | Balanced accuracy |
| --- | --- | --- | --- | --- |
| BP-Load | Random forest | 0.980 | 0.986 | 0.976 |
| Circadian-Rythm | Random forest | 0.991 | 0.955 | 0.935 |
| Morning-Surge | Logistic regression | 0.941 | 0.697 | 0.874 |
| Pulse-Pressure | Logistic regression | 0.732 | 0.828 | 0.737 |

## 4.8 Report output and explanation-interface safety

The framework generates a structured BP report for each participant. The report includes dipping category, sleep BP status, morning surge status, BP variability status, sustained high BP flag, data-quality status, and clinician-review points. The report-linked explanation interface explains the calculated report only. It does not diagnose disease, prescribe treatment, or recommend medication changes.

[INSERT AFTER FINAL ANALYSIS] Insert final safety-check counts for report-question examples, medication-change questions, clinician redirections, and responses requiring urgent-care advice.

# 5. Discussion

This revised manuscript changes the machine-learning narrative from a simple support classification analysis into a coherent teacher-student framework for ABPM prioritisation. The central idea is that full ABPM contains rich temporal information, but full ABPM is not always available. Therefore, complete ABPM is used during training as privileged information, while the final student model is designed to operate using limited clinical and home-monitoring inputs.

The rule-based ABPM module remains important, but its role is now clearer. It is not presented as the main machine-learning novelty. Instead, it provides clinically interpretable ABPM phenotypes and report outputs when full monitoring is available. These phenotypes also provide supervised targets for the teacher-student learning pathway. This creates continuity between clinical interpretability and machine-learning development.

The self-supervised teacher model adds a deeper learning component. Rather than learning only from binary labels, the teacher first learns the structure of the 24-hour BP curve through masked reconstruction. This encourages the model to encode day-night rhythm, nocturnal fall, morning transition, sustained elevation, and variability. The student model then learns from the teacher representation and teacher probabilities, so it is not limited to copying a simple rule label.

The missingness-aware design is also clinically important. Real limited-input data are often incomplete. Some patients may have clinic BP but no home BP. Some may have missing BMI, lifestyle information, or medication history. By providing missingness masks and training with feature dropout, the student model is designed to remain usable under practical data limitations. This is more realistic than requiring all variables to be present.

The proposed synthetic limited-input cohort is a useful development strategy, but it must be interpreted carefully. It allows controlled testing of the method before a real paired clinic/home plus ABPM dataset is available. However, synthetic limited inputs cannot prove clinical performance. They only show whether the modelling strategy is technically feasible and robust under controlled assumptions. External validation is required before clinical claims can be made.

The revised framework also keeps the clinical safety boundary clear. Full ABPM rule-based reporting produces clinician-review points. The limited-input student model produces risk estimates or ABPM prioritisation scores. The explanation interface explains the report, but it does not diagnose, prescribe, or recommend medication changes. This boundary is essential because BP medication timing and dosing depend on clinical context and should remain doctor-led.

## 5.1 Expected interpretation of model results

If the proposed model performs well, the correct interpretation is not that it replaces ABPM. The correct interpretation is that limited clinical and home BP inputs may contain enough information to estimate the likelihood of ABPM-defined abnormalities and help decide who should be prioritised for ABPM or closer review. The full ABPM pathway remains the preferred method for confirming and explaining sleep-aware BP patterns.

## 5.2 Comparison with the earlier manuscript narrative

The earlier manuscript framed machine learning mainly as a separate support analysis on a labelled ABPM summary dataset. The revised narrative is more integrated. It links the full ABPM rule-based module, self-supervised ABPM teacher, limited-input student, synthetic limited-input cohort, missingness handling, and report output into a single research framework. This makes the machine-learning contribution more substantial while preserving clinical transparency.

# 6. Limitations

The primary ABPM dataset includes only 30 participants, so the rule-based phenotype distribution should not be interpreted as a clinical prevalence estimate. High morning surge and high variability are cohort-relative development flags unless externally validated thresholds are adopted. The synthetic limited-input cohort is useful for method development, but it is not a substitute for real paired clinic/home BP and ABPM data. Synthetic assumptions about clinic BP bias, home BP noise, white-coat-like effects, masked-like effects, lifestyle variables, and missingness may influence performance. Therefore, final clinical claims require external validation on real patients.

The teacher-student framework also requires careful evaluation for leakage. The limited-input student must not receive ABPM-derived features that would be unavailable without full ABPM, such as sleep mean BP, dipping percentage, or morning surge calculated from ABPM. These variables can be used as labels or teacher targets, but not as student inputs. This distinction should be checked carefully in all experiments.

The report-linked explanation interface is not a medical device and is not approved for independent clinical decision-making. Any clinical deployment would require governance review, privacy assessment, expert validation, prospective testing, audit logging, access control, and local approval.

# 7. Future work

The next important step is to obtain or collect a real paired clinic/home BP plus ABPM dataset. Such a dataset should contain clinic BP, home morning and evening BP, repeated home BP over several days, age, sex, BMI, heart rate, diabetes status, smoking status, medication status, sleep quality, caffeine and alcohol intake, stress, previous hypertension history, and full ABPM-derived labels. This would allow the limited-input student model to be validated without relying on synthetic inputs.

A prospective Sri Lankan hypertension clinic study would be especially valuable. It could assess whether structured sleep-aware ABPM reporting and limited-input ABPM prioritisation improve referral decisions, patient understanding, medication discussion quality, follow-up, and BP control. Patient-facing outputs should be translated and tested in Sinhala and Tamil before real clinical use.

# 8. Conclusion

This revised framework combines interpretable full-ABPM profiling with a missingness-aware self-supervised teacher-student pathway for limited-input ABPM risk estimation. Full ABPM remains the primary source for sleep-aware BP interpretation, including dipping status, nocturnal BP burden, morning surge, variability, and sustained high BP. The teacher-student extension uses full ABPM as privileged information during training and limited clinic/home inputs during inference, supporting ABPM prioritisation when full monitoring is unavailable. The framework preserves clinician-led decision-making, avoids medication-change advice, and provides a safer path toward personalised hypertension monitoring. Further validation on real paired clinic/home BP and ABPM data is required before clinical deployment.

# Data and code availability

The analysis code, dashboard prototype, report assistant, paper figures, tables, and manuscript files are available at: https://github.com/maninka123/personalised-bp-monitoring

Raw datasets are not committed to the repository. The analysis expects the Dryad physiological monitoring dataset and the labelled ABPM .arff file to be stored locally. Synthetic limited-input data should be generated from the approved local dataset and documented with the generation seed, noise settings, missingness settings, and plausibility checks.

# Ethics and clinical use statement

This is a retrospective data-analysis and software-prototype project using public or locally stored research datasets. It is not a medical device and is not approved for independent clinical decision-making. The limited-input model is intended only for research and ABPM prioritisation support. Any clinical use would require local governance review, privacy assessment, expert validation, prospective testing, and appropriate clinical oversight.

# References

1. World Health Organization. Sri Lanka Hypertension Profile 2023. https://cdn.who.int/media/docs/default-source/country-profiles/hypertension/hypertension-2023/hypertension_lka_2023.pdf

2. Rannan-Eliya RP, et al. Hypertension diagnosis, awareness, treatment, and control in Sri Lankan adults: a nationally representative cross-sectional study. BMC Public Health.

3. European Society of Hypertension. 2023 ESH Guidelines for the management of arterial hypertension. Journal of Hypertension.

4. American College of Cardiology/American Heart Association. 2017 Guideline for High Blood Pressure in Adults.

5. Salles GF, et al. Non-dipping blood pressure or nocturnal hypertension: does one matter more? Current Hypertension Reports.

6. Sheppard JP, et al. Prognostic significance of the morning blood pressure surge in clinical practice: a systematic review. American Journal of Hypertension.

7. Vapnik V, Vashist A. A new learning paradigm: learning using privileged information. Neural Networks. 2009.

8. Hinton G, Vinyals O, Dean J. Distilling the Knowledge in a Neural Network. arXiv:1503.02531. 2015.

9. Lopez-Paz D, Bottou L, Schölkopf B, Vapnik V. Unifying distillation and privileged information. arXiv:1511.03643. 2015.

10. Che Z, Purushotham S, Cho K, Sontag D, Liu Y. Recurrent Neural Networks for Multivariate Time Series with Missing Values. arXiv:1606.01865. 2016.

11. Du W, Cote D, Liu Y. SAITS: Self-Attention-based Imputation for Time Series. arXiv:2202.08516. 2022.

12. Project data files analysed by this repository: Blood_Pressure_Sleep_Info.xlsx, Participant_Information.csv, Data_Collection_Notes.csv, ABPM-dataset.arff.